CHAOTIC BEHAVIOUR of DYNAMIC SYSTEM and UNCERTAINTY MEASUREMENT
Yuri Machekhin

National University of Radio-electronic, 61166, Kharkov, Ukraine

E-mail: yuri_m49@mail.ru

Abstract

The role of dynamical chaos as a mechanism of increasing measurement uncertainty in a nonlinear dynamic system is discussed. A mathematical model based on the logistic equation was used for investigation of the effect. It was found that the uncertainty measurement, which has abnormal distribution, is connected with dynamic chaos.

Introduction
According to GUM, static objects or dynamic system parameters are measurands that must be described by well-defined physical quantities, represented by the essentially unique values [1]. Measurement results of random variable depend on how the random process obeys the ergodic hypothesis. These two physical models allow usage of well-known statistical methods for analysis of measurement results and estimation of measurement uncertainty. In this case the measurement models are ordinary algebraic equations [1].

When we investigate dynamic systems with periodical behavior and must measure parameters of these systems, we have to take into account the character of dynamical changes. Now, it is well known, that nonlinear dynamical systems (physical or chemical) may have deterministic and chaotic behaviors. An example of the chaotic behavior is strange attractor [2]. In case of deterministic behavior we have a type of well-investigated dynamic measurements, but nobody knows how estimate results of measurement in case of dynamic chaos [3, 4]. 

Generally, the behavior of a dynamic system can be described with a set of low- dimensional nonlinear differential equations that may have two different types of solutions. A common type of mathematical system with non-regular solutions is a system of nonlinear discrete difference equations that are well-known in literature [5]. One type of solutions describes deterministic periodical behavior in time while other type of solutions describes chaotic or non-regular behavior. We can observe random or chaotic behavior in real systems that make influence on measurement results in these dynamical systems. 

These solutions of the real nonlinear dynamic systems with regimes of dynamic chaos were investigated in this paper. 

Since the GUM gives no recommendations of how estimate measurands and its uncertainty in the dynamic systems with a chaotic behavior, the purpose of the present paper is to investigate how dynamic chaos influence measurement of uncertainty. For this, the discrete difference equation was used as mathematical model that describes dynamic system [5].

Measurement models for dynamic systems
GUM establishes that the measurand 
[image: image1.wmf]X

is defined if the functional relationship or the measurement model is given 


[image: image2.wmf])

(

m

F

X

=

 ,                                 (1)

where 
[image: image3.wmf])

,...

(

1

N

m

m

m

=

 is a N -dimension vector of input quantities. 

In dynamic systems, the measurement model is given by a system of differential equations [6] 


[image: image4.wmf])

,

(

m

r

r

r

x

f

t

x

=

¶

¶

,                      (2)

where 
[image: image5.wmf]x

r

 is a vector of measurands, 
[image: image6.wmf]m

 is a vector of input quantities and 
[image: image7.wmf])

,

(

m

r

r

x

f

 - nonlinear function. 

Using (2) as the measurement model, we can determine conditions, under which the dynamic system’s behavior will influence the measurement results and measurement uncertainty.

In accordance to GUM, the measurement of quantity 
[image: image8.wmf]x

 as a single (scalar) output quantity has physical sense in two cases. In the first case the system under investigation is in stable and stationary state, i.e. 


[image: image9.wmf]0

=

¶

¶

t

x

.                           (3)

In this situation GUM measurement model is based on a nonlinear algebraic equation 


[image: image10.wmf]0

)

,

(

=

m

x

f

.                          (4)

Often, in measurement practice, a simpler equation than equation (1) is used [1]


[image: image11.wmf]x

-
[image: image12.wmf]0

)

(

=

m

f

.                         (5)

In the second case, the dynamic system is in state of deterministic behavior in time. For example, the system can have periodical behavior represented by the mathematical model of harmonic oscillator


[image: image13.wmf]

 EMBED Equation.3  [image: image14.wmf]0

2

2

2

=

+

x

dt

x

d

w

.                        (6)

In this article the results of investigations are presented how nonlinear dynamic system’s chaotic behavior [2] influences the measurement of uncertainty [3]. Usually, the system of differential equations (2) is used for describing dynamic system’s behavior. But if the dynamic system for different values of parameter has deterministic or chaotic behavior, then instead of equation (1) a discrete difference equation is used [5] 


[image: image15.wmf]]

,

[

1

m

n

n

x

G

x

=

+

,                  (7)

where 
[image: image16.wmf]G

 is a nonlinear function. 
The non-linearity and non-equilibrium are two properties that fully determine deterministic chaotic befavior of the dynamic system. While statistical properties of deterministic chaos are well known, there is no proof that all types of deterministic chaos are ergodic random processes. So, the application of GUM’s recommendations for the estimation of measurands and its uncertainty requires investigations of the properties of deterministic chaos and its influence on the measurement of uncertainty in every separate case. 
In special case of square one-dimensional mapping (7) that is known as the logistic mapping equation 


[image: image17.wmf])

1

(

1

n

n

n

x

x

x

-

=

+

m

,.             (8)

solutions of (8), corresponding to actual states of a physical system, are attracting and limiting points or cluster sets. Only the limit of a sequence 
[image: image18.wmf]n

x

 presents the practical interest for measurement 


[image: image19.wmf])

(

m

x

 = 
[image: image20.wmf])

(

lim

m

n

n

x

¥

®

.             (9)

Accordingly, in the result of measuring we determine the numerical value of 
[image: image21.wmf])

(

m

x

, which depends on parameter 
[image: image22.wmf]m

. So, all cases of the measurement models are based on (9) and we have to measure
[image: image23.wmf]m

 for definition of 
[image: image24.wmf])

(

m

x

.

The solutions (9) of the equation (8) are well investigated (see, for example [5]), therefore, in the present consideration these solutions were treated as the measuring equation for 
[image: image25.wmf])

(

m

x

 at different values of 
[image: image26.wmf]m

. Basing on these equations, which have different physical senses, the estimation of probable statistically- spreaded measurement results were carried out for different values of 
[image: image27.wmf]m

.

Because of the sensitivity of values 
[image: image28.wmf])

(

m

x

 to values of 
[image: image29.wmf]m

, the basic measurement problem, which is necessary to solve, is defining the conditions, at which the system behavior influence the statistical spreading of measurement results.

By using the logistic mapping equation (7), as measurement model, let us consider some well-known solutions for different physical situations for values of 
[image: image30.wmf]m

 in interval from 0 up to 4. 

1) 0 < 
[image: image31.wmf]m

 ( 1. The solution (8) represents an inconvertible attractive fixed point 
[image: image32.wmf]0

=

x

. In this case the measuring of value of quantity 
[image: image33.wmf]x

 presents a trivial problem.

2) 1 < 
[image: image34.wmf]m

 ( 3. The square-law mapping has a unique fixed limiting attractive point 
[image: image35.wmf])

1

(

x

, which value is determined by the expression


[image: image36.wmf]m

/

1

1

)

1

(

-

=

x

,                      (10)

for any initial value 
[image: image37.wmf]0

x

.

This solution of (8) is the limiting value of the mapping and presents the measurement equation for quantity 
[image: image38.wmf])

1

(

x

. Therefore, utilizing results of direct or indirect 
[image: image39.wmf]n

 measurements of the parameter 
[image: image40.wmf]n

k

k

,...

1

,

=

m

, the value of 
[image: image41.wmf])

1

(

x

 is determined that is relevant to a stable and attractive conditions of system. The mean value 
[image: image42.wmf])

1

(

x

 and the standard deviation 
[image: image43.wmf])

(

)

1

(

x

c

u

 can be expressed as follows:


[image: image44.wmf]å

=

-

=

n

k

k

n

x

1

)

1

(

)

/

1

1

(

1

m

,              (11)


[image: image45.wmf])

(

/

1

)

(

2

)

1

(

m

m

c

u

x

c

u

=

,            (12)

where


[image: image46.wmf]2

1

)

(

)

1

(

1

)

(

å

=

-

-

=

n

k

k

n

n

c

u

m

m

m

  (13)

Thus, the measurement of uncertainty of 
[image: image47.wmf])

1

(

x

depends only on the measurement uncertainty of the parameter
[image: image48.wmf]m

.

3) 3 < 
[image: image49.wmf]m

 ( 3.44948... The solution of the equation (8) has two inconvertible fixed points, which values are determined by a value of the parameter 
[image: image50.wmf]m

. 


[image: image51.wmf](

)

m

m

m

m

2

/

3

2

1

2

/

1

2

)

3

),(

2

(

ú

û

ù

ê

ë

é

-

-

±

+

=

x

.    (14)

As well as in the previous case the medial results of measuring the quantities of inconvertible points 
[image: image52.wmf])

3

,

2

(

x

 and estimation of measurement uncertainty of the results in these measuring are determined by the results of measurement of the parameter
[image: image53.wmf]m

. 

4) 3.5699 < 
[image: image54.wmf]m

 ( 4. Under this values of the parameter 
[image: image55.wmf]m

, the limit (9) is cluster set, which sizes are determined by the region of existence of the solutions of this equation. The structure of the set is determined by a value of the parameter 
[image: image56.wmf]m

. In [2] it is shown, that inside a unit square of a region of definition of quantity
[image: image57.wmf]n

x

, there is a random change of values of quantity
[image: image58.wmf]n

x

. It means, that every next iteration gives value of quantity
[image: image59.wmf]n

x

, which randomly differs from previous value of quantity 
[image: image60.wmf]1

-

n

x

. It means, that at any initial condition 
[image: image61.wmf]0

x

 the result of the sequentially fulfilled iterations of equation (5), when 
[image: image62.wmf]¥

®

n

, is the sequence of random values 
[image: image63.wmf]n

x

. On the other hand, the existence of such solution of equation (5) indicates the absence of the determinate measuring equation in the sense, in which the equation (5) did serve at other values of 
[image: image64.wmf]m

.

Thus, the solution of considered square-law mapping becomes not an inconvertible limit point characterized by a unique value, but range of values
[image: image65.wmf]n

x

, in which the random values 
[image: image66.wmf]n

x

 are defined by a probability frequency function - 
[image: image67.wmf])

,

(

m

j

n

x

. The properties of the square-law mapping are such that at any value of 
[image: image68.wmf]i

m

 the probability density function 
[image: image69.wmf])

,

(

i

n

x

m

j

 is shaped. At great many enough of iterations the distribution of values of quantity 
[image: image70.wmf]n

x

 becomes practically continuous that allows proceed to continuous probability density function - 
[image: image71.wmf])

,

(

i

x

i

m

j

. 

At each value of 
[image: image72.wmf]i

m

 the mean value 
[image: image73.wmf]i

x

 will be determined by the relevant probability density function 


[image: image74.wmf]ò

=

1

0

)

,

(

dx

x

x

x

i

i

i

m

j

.                (15)

The feature of this equation is that the value 
[image: image75.wmf]i

x

 depends on sort of a function 
[image: image76.wmf]i

j

 which, in turn, exhibits strong sensitivity to value of the parameter 
[image: image77.wmf]i

m

. That is, the small change in value of this parameter gives an essential change to function 
[image: image78.wmf])

,

(

i

i

x

m

j

 character, that in turn, gives an essential change in value of 
[image: image79.wmf]i

x

. It means, that value of difference 
[image: image80.wmf]j

i

x

x

-

at close values of 
[image: image81.wmf]i

m

 and 
[image: image82.wmf]j

m

 can differ by an arbitrary random amount. It means, that at the normal law of spreading of the apparent parameter’s values of 
[image: image83.wmf]m

, the variance of values 
[image: image84.wmf]i

x

 will be anomalously large.

If 
[image: image85.wmf]m

 of the observations of the quantity 
[image: image86.wmf]i

m

 are carried out, the mean value of the result of measuring of quantity 
[image: image87.wmf]x

 is determined by the expression


[image: image88.wmf]x

 = 
[image: image89.wmf]å

ò

=

å

=

=

m

i

i

i

m

i

i

dx

x

x

m

x

m

1

1

0

1

)

,

(

1

1

m

j

.  (16)

In the result of measuring stipulated by the spreading of measured values of 
[image: image90.wmf]m

, the variance is determined by the expression


[image: image91.wmf]2

1

2

)

(

)

1

(

1

x

i

x

n

n

u

m

i

c

-

å

-

=

=

      (17)

Thus, the result of observation of the statistical spreading of values of driving parameter 
[image: image92.wmf]m

 is magnified by random dynamics of the square-law mapping and this gives abnormal magnification of the uncertainty in the estimation of 
[image: image93.wmf]x

.

With the understanding what gives the acknowledgement of the random behavior of the dynamic system at 
[image: image94.wmf]¥

®

n

, we shall consider more in details sampled iterations of the mapping (5). Thus, the possible conditions of the practical implementation of the process of measuring of quantity 
[image: image95.wmf]n

x

 depend on an interval 
[image: image96.wmf]t

 between observations of the quantities 
[image: image97.wmf]n

x

 and number of observations
[image: image98.wmf]N

. If  
[image: image99.wmf]T

 is an interval between sequential iterations of the equation (5), it is feasible to consider two extreme cases: first is for  
[image: image100.wmf]N


[image: image101.wmf]t

 ( 
[image: image102.wmf]T

, and second is for 
[image: image103.wmf]N


[image: image104.wmf]t

 > 
[image: image105.wmf]T

.

If the condition 
[image: image106.wmf]N


[image: image107.wmf]t

 ( 
[image: image108.wmf]T

 is satisfied, the mean value 
[image: image109.wmf]n

x

with standard deviation 
[image: image110.wmf])

(

n

c

x

u

 will be set on 
[image: image111.wmf]n

-th iteration of square-law mapping which is stipulated with the uncertainty 
[image: image112.wmf])

(

m

c

u

. At the next iteration of mapping the other value of 
[image: image113.wmf]1

+

n

x

 will be measured, which also will be carried out with the uncertainty 
[image: image114.wmf])

(

m

c

u

. And each time, after the next iteration of the mapping, it will be measured randomly modified value of 
[image: image115.wmf]n

x

. Nobody can ensure the reproducibility of measuring in the square-law mapping operating in a random mode since the physically stable values of observed data do not exist. Therefore, a measure of  uncertainty is necessary for observed data generated randomly within a region of finite  values. 

If the interval 
[image: image116.wmf]t

 between measuring of the quantity 
[image: image117.wmf]n

x

 is more than a time slice
[image: image118.wmf]T

, the series of random values 
[image: image119.wmf]n

x

 will be captured in result of 
[image: image120.wmf]N

 observations. Thus, as it was shown above, the uncertainty of the result, both single observation and result of measuring, will be stipulated by the stochastic dynamics of the behavior of the measurand. As the region of random change of quantity 
[image: image121.wmf]n

x

 is restricted, it is possible to view this region as limiting, stable borders of explored system, which "is spread" statistically in finite region.

Example of chaotic dynamic at 
[image: image122.wmf]m

=4
For an example we will consider a random sequence of values
[image: image123.wmf]n

x

, generated by the square-law mapping (8) at 
[image: image124.wmf]m

=4. In [5] the statistical property of the sequence is characterized by a probability density distribution function 
[image: image125.wmf])

(

4

x

P

 (coefficient 4 points at parameter value 
[image: image126.wmf]m

=4) 


[image: image127.wmf])

1

(

1

1

)

(

4

x

x

x

P

-

=

p

.           (18)

This function is defined in an interval of values 0 < 
[image: image128.wmf]x

 < 1. It was taken into account, that the stochastic process implemented at 
[image: image129.wmf]m

=4 with intermixing and exponential divergence of close trajectories [5], is ergodic. 

In the theory of errors such arc-sinusoidal function is well-known as a distribution function of errors for electrical methods of the measuring, which have interference from power lines with frequency 50 Hz. In a reviewed case the distribution function takes into account the random character of behavior of the dynamic system. Utilizing function (15), it is possible to calculate the mean value of the dynamic quantity 
[image: image130.wmf]4

x



[image: image131.wmf]4

x

 = 
[image: image132.wmf]2

1

1

1

1

0

=

-

ò

dx

x

x

p

,             (19)

and the standard deviation


[image: image133.wmf]ò

-

-

=

1

0

2

)

1

(

)

2

/

1

(

1

dx

x

x

x

S

p

 =0,353.         (20)

Thus, even at the usage of an absolutely precise parameter’s value 
[image: image134.wmf]m

 (in our case 
[image: image135.wmf]m

 =4), the one-dimensional mapping generates a random sequence of 
[image: image136.wmf]n

x

, which is characterized by a probability density distribution function (15) that helps to calculate the mean value and the standard deviation. 

From this it follows that the existence of a random mode in behavior of dynamic system is a key factor making that the stationary unique value for a measurand simply does not exist. Therefore, the uncertainty of measuring of the system parameters, which is taking place in a random mode, is stipulated by a random spreading of the values of a measurand. 

Discussion and conclusions
Utilizing one-dimensional discrete mapping for exposition of the character of the behavior of dynamic system, it is shown how the stochastic behavior of the explored dynamic system can influence an estimation of system parameters from the observed data. It is shown that the statistical character of the behavior of the dynamic system is the decisive factor for estimation of the parameters of the system from the observed data. On a theoretical example of one-dimensional logistic mapping it is shown the necessity of the acknowledgement of the random behavior of the dynamic system for the estimation of the observed data.

Approach introduced in the present examination is one of the perspective ways in the development of the theory of measuring, including methods of uncertainty estimation or an error estimation of the carried-out measurements. It is possible to formulate a blanket problem, which solution seems to be extremely in need now. 

Examinations applied to complex dynamic systems (such as different sort biological objects, social systems, objects with a composite interior kinetics of chemical reactions, and also all systems based on the thermodynamic non-equilibrium processes [7-8]) should take into account the fundamental  synergetic effects (such as self-organizing resulting in the development of the spatial, time and time-multiplexed structures and processes of the dynamic chaos causing irregular, random behavior of the dynamic systems), explicating the behavior of these systems. 

Today, the explicated methods of the experimental examinations of dynamic chaos are not methods for estimation of the observed data, which ensure unity of measuring. And for this reason, the examinations of the influence of the dynamic chaos in the dynamic systems on the observed data should have a metrological bias, which can lead to development of the uniform approach to problem of measuring.

References
[1] BIPM, IEC, IFCC, ISO, IUPAC, IUPAP and OIML, 1995 Guide to the Expression of Uncertainty in Measurement, 2nd edn.,, ISBN 92-67-10188-9.

[2] Crownover R., Introduction to Fractals and Chaos, Jones & Bartlett Publishers, 1995, 352 p. 

[3] Machekhin Yu., Physical models for analysis of measurement results, Measurement Techniques, Springer New York,  2005, vol. 48, №6, pp 555-561.

[4] Machekhin Yu. Basics of fractal methods of analysis of measurement results in Hausdorff space, Ukraniane Metrological Journal, 2005, №3

[5] Schuster H., Deterministic chaos, Physik-Verlag Weinheim, 1984, 240 p.

[6] Feigenbaum M.J. 1978 J. Stat. Phys. 19 25 

[7] Glass L. and Mackey M., From Clocks to Chaos, Princeton University Press, 1988, 248 p.

[8] Nicolis G. and Prigogine I., Self-organization in nonequilibrium systems, A Wily-Interscience Publication, JOHN WILEY & SONS, New York/London/Sydney/Toronto, 1977, 512 p.

_1226486513.unknown

_1226488949.unknown

_1226489275.unknown

_1234875373.unknown

_1245486754.unknown

_1245506211.unknown

_1245517346.unknown

_1246607689.unknown

_1246613505.unknown

_1245516726.unknown

_1245487404.unknown

_1245506187.unknown

_1245487181.unknown

_1245486955.unknown

_1235058709.unknown

_1236264142.unknown

_1236264227.unknown

_1245486674.unknown

_1236264155.unknown

_1236264119.unknown

_1234876033.unknown

_1235057044.unknown

_1235058095.unknown

_1234875978.unknown

_1226491041.unknown

_1226491193.unknown

_1226564402.unknown

_1234383438.unknown

_1226571256.unknown

_1226491222.unknown

_1226492607.unknown

_1226491228.unknown

_1226491215.unknown

_1226491152.unknown

_1226491158.unknown

_1226491143.unknown

_1226490618.unknown

_1226490969.unknown

_1226490974.unknown

_1226490963.unknown

_1226490956.unknown

_1226490562.unknown

_1226490570.unknown

_1226489292.unknown

_1226489019.unknown

_1226489174.unknown

_1226489230.unknown

_1226489269.unknown

_1226489202.unknown

_1226489070.unknown

_1226489098.unknown

_1226489062.unknown

_1226488974.unknown

_1226488996.unknown

_1226489003.unknown

_1226488987.unknown

_1226488960.unknown

_1226488969.unknown

_1226488955.unknown

_1226486669.unknown

_1226486711.unknown

_1226488928.unknown

_1226488936.unknown

_1226486743.unknown

_1226486698.unknown

_1226486704.unknown

_1226486678.unknown

_1226486637.unknown

_1226486654.unknown

_1226486662.unknown

_1226486645.unknown

_1226486536.unknown

_1226486563.unknown

_1226486523.unknown

_1226483323.unknown

_1226486050.unknown

_1226486218.unknown

_1226486249.unknown

_1226486264.unknown

_1226486243.unknown

_1226486150.unknown

_1226486212.unknown

_1226486061.unknown

_1226485277.unknown

_1226485455.unknown

_1226485643.unknown

_1226485423.unknown

_1226485260.unknown

_1226485267.unknown

_1226478059.unknown

_1226481894.unknown

_1226483311.unknown

_1226483133.unknown

_1226483277.unknown

_1226483075.unknown

_1226478131.unknown

_1226478208.unknown

_1226478310.unknown

_1226478320.unknown

_1226478214.unknown

_1226478184.unknown

_1226478193.unknown

_1226478142.unknown

_1226478116.unknown

_1226478122.unknown

_1226478090.unknown

_1226236263.unknown

_1226236319.unknown

_1226477278.unknown

_1226478050.unknown

_1226477243.unknown

_1226236317.unknown

_1226236318.unknown

_1226236316.unknown

_1226236251.unknown

_1226236253.unknown

_1226236257.unknown

_1226236252.unknown

_1226236246.unknown

_1226236249.unknown

_1226236250.unknown

_1226236248.unknown

_1226236244.unknown

_1226236245.unknown

_1226236239.unknown

_1226236243.unknown

_1226236223.unknown

_1226236221.unknown

